RENTAGUADIANA DESIGN FEATURES

This quality specifications summarise the more significant elements used in the construction of the property we are building for you.

Our broad experience in this type of work of high standing enables us to guarantee that the house we are building will allow you to enjoy a home of the utmost comfort with the lowest maintenance costs.

Set in incomparable countryside, with views over one of the golf courses and the River Guadiana’s mouth, our technical team has managed to do the best of the plot’s topography, as well as finding the best orientation for each room so that any season is a new experience in your life.

Façades

The exterior walls of the property are double bricked using top quality bricks, and finished on the outside with cement rendering and a coat of stone paint. On the interior, the walls are plastered and finished with plastic paint in a range of colours.

In order to guarantee maximum interior comfort with minimum energy costs, thermal-acoustic insulation is applied to both sides of the brick in the interior.

The exterior walls of the property will have retaining walls prefabricated with concrete by GRUPO HERRERA.

Colour and type ofdesigned walls

Roofs

Deserving special attention are the roofs that are basically flat and will have asphalt sheet, thermal insulation and Chinese finished. Thermal insulation on the asphalt sheet ensures a greater duration at the same time that ensures a better temperature inside the house.

In the roofs designed, with pitched tiled roof and finished in ceramic tile made by Borja Centenaria, extreme care has been taken with thermal-acoustic insulation and waterproofing using double asphalt membrane to guarantee a total seal.

Colour and type of designed tiles

Interior distribution

For the interior distribution we have chosen a traditional 7 cm thick brick, covered on both faces with a layer of plaster

Interior finishes

Regarding horizontal finishes and as a base, we have chosen the natural beauty of cream marble. For the kitchen we prefer the most functional gres ceramic tile. This easy-to-maintain and durable material will enable this essential living area to be kept clean.

We also consider it important to provide an easy-to-maintain and highly attractive finish to the exterior paving. That is the reason why we have chosen a rustic gres tile.

We have designed the ceilings with a continuous covering of plaster boards suspended from the roof deck. In this way we are able to offer the possibility of easy fitting of downlights, perfectly positioned according to your criteria. This solution also allows easy access to all the installations in the house. In the bathrooms, a suspended ceiling is installed in the places where there are interior air-conditioning machines for the correct maintenance of the machines.

For the wall coverings and as a base throughout the house, a layer of highly durable plaster is applied. In line with the latest trends in decoration, this solution is also used in the kitchen, thus offering greater freedom when it comes to adapting it to suit your taste. And in this same vein, our interior designers have chosen to surprise us in the bathrooms with finishes based on a combination of  COMPLEMENTTO tiles of 10x10 cms in harmonious combinations of colours finished with an ornamental frieze of 2,80 x 10 cms.

tiles colours

Carpentry

- Interiors: The entrance door is made of iroko wood (solid with security lock, embedded in the door edge with three anchorage points) as the interior doors will be DM lacquered in white.

- Exteriors: We have chosen aluminium carpentry. This material offers fantastic no-maintenance insulation. The carpentry includes, in each case, sliding windows, tilt or tilt-and-turn windows for good ventilation of the room without needing to open the window. To darken rooms, a system is used consisting of a set of PVC slats. Lastly, and bearing in mind those openings where security bars are not fitted as well as improved insulation, the entire house has been designed with thermal-acoustic glass consisting of a double sheet of exterior glazing joined with transparent or matt butyral, depending upon the room, an air chamber to improve thermal insulation and an inner layer consisting of another sheet of glass. In other words, the final composition (5+5+chamber+5mm) guarantees a high degree of safety and maximum interior comfort, while ensuring that energy losses from the house are kept to a minimum. In the windows with security system by shutters the glasses are of the climalit type of section 5+chamber+5mmm.

Installations

To ensure maximum comfort in your life, we have designed an air conditioning system known as water-air of DAIKIN with inverter technology that ensures the maximum efficiency and a an increase in comfort. The system is based on two exterior plants easily accessible for maintenance but hidden from view and sufficiently far away for noise not to be a problem. These plants serve two machines that provide cold or heat to each room. Each house has been divided into two areas (dining-room-kitchen and bedrooms) with independent machines. All the areas will be provided with an individual thermostat so that the temperature can be regulated in each room.

In a suitable place in each house, an ARISTON boiler of natural gas (provided by the development) has been installed.  This system will provide the necessary energy for sanitary hot water. The water will be stored in an ARISTON thermal tank of 150 litres, thus allowing the use in different bathrooms and the kitchen without a loss in either flow rate or water pressure.

Sanitary System

The chosen system is divisive. The sanitary net is made of PVC of 4Kg/cm², with a minimum pending of 1'5%. The interior sanitary pipes will be protected with acoustic insulation.

The coffers are designed in de PVC when they are embedded in the tiles and in prefabricated concrete in the other cases.

Plumbing

All the piping used is of UPONOR multi-layered pipes (polythene pipe with aluminium). All the installation will be calorifugate, that is to say, protected to avoid losses of temperature in hot water or condensation in cold water. In addition, there is a secondary hot water return system, providing instant water at the desired temperature in every corner of the house.

Sanitary appliances will be of top quality vitrified porcelain in white GALA. The sanitary appliances of the main bathroom will be of BACARA model with washbasins PANORAMA model with a towel rail, the other bathrooms will be  MARINA  model and all the baths will be of steel  VANESA model and dimensions 1,70 mts x 0,75 mts. All sanitary appliances are complemented by GROHE taps EUROSTYLE model mixer tap with shower SENSIA DUAL model.

Power Supply

This is tri-phase low voltage. To improve the control of the house, and following the REBT instructions, a principal control panel is fitted to control the entire house, enabling the different areas to be controlled independently

From this panel, and by means of time clocks, all the functions like exterior lighting of house and garden are controlled. The chosen mechanism is BTICINO Light series in the interiors, and in the exterior there will be watertight in front of the water. All the rooms are fitted with TV and telephone sockets. A video-door entry system and installation of a centralised satellite dish for all the development.

Security

As a security installation complementary to the constructive measures adopted in the house, a security system (SECURITAS DIRECT) has been designed with human presence detectors magnetic detectors of door opening, remote control security consult function before entering the house, and an alarm system connected for 9 months to a security control centre operating in the area (Securitas-Direct) and to the access control.

Garden

We have designed a wonderful garden for each house fully equipped with lighting and automatic irrigation system.

Urbanization

It is designed with only one entrance for cars, in the North, that enables an easy control of all the area. Anyway, all those houses placed at the border of the urbanization will be provided with pedestrian individual entrances from the exterior.

The streets have been designed with a total width of nine metres with an area of for roads of six metres and two strips of a metre and a half of gardens at each side. The areas for cars are designed with tiles of printed concrete. In the same way, community parking areas have been designed in the interior of the development, so that the streets will be free of parked cars, making pedestrian circulation easier.

As a definitive complement to your house, a community area has been designed with 3.000 m² with paddle court, swimming-pool, changing rooms and a snack-bar surrounded by great garden areas.

We would like to thank you for the time you have given to read this, and we remain entirely at your service should you have any queries.

January 2007